Attachment A

SCHOOL FACILITY SAFETY ASSESSMENT INSTRUMENT

School District_____________________School Superintendent__________________

School Name & Address__________________________________________________

# Principal(s)_____________________________________________________________

Date of Assessment_______________________________________________________

# Facility Assessment

# Exterior Review

- Parking

- Has the school designated and appropriately labeled parking for handicap individuals? _____

- Are visitor parking spaces marked and in close proximity to the office? _____

- Is there appropriate means of access to the building?

- Are the grounds and parking areas properly maintained? _____

- Utilities

- Are main utilities shut-offs properly identified by signage outside? _____

- Has access to mechanical/storage areas been secured? _____

- Maps

- Has a campus map been prepared and posted in the (Main Office) identifying main utility shut-off points on campus? _____

  - Electricity_____

  - Natural Gas or Propane_____

  - Water_____

- Sidewalks/Steps

- Do the walkways and steps provide adequate access to all buildings?_____

- Are steps in good repair? _____

- Are handrails provided? _____

- Fire Prevention

- Are fire hydrants near the building unobstructed? _____

- Playground area

  - Are all playgrounds fenced? _____

  - Are there barriers in place to separate children from vehicular traffic flow? _____

  - Is the playground surface shock absorbent? _____

  - Is playground equipment properly installed, adequately spaced and free of sharp edges? _____

  - Does the playground comply with the Handbook for Public Playground Safety published by the U.S. Consumer Product Safety Commission? _____

# Interior Review

- Corridors

- Is clear egress provided? _____

- Does the area have emergency lighting? _____

- Do lighted egress signs identify each egress point? _____

- Are fire extinguishers provided no farther than 75 feet from any area? _____

- Classrooms

  - Can classroom doors be secured from the inside? _____

  - Do classrooms have evacuation maps posted? _____

  - Does each classroom have two means of egress? _____

  - Is the second means of egress unobstructed and labeled? ______

  - Does each classroom have a two-way means of communication with the office? _____

  - Are extension cords being for a permanent power source? _____

  - Were surge protectors plugged into wall outlets? _____

  - Are electrical wall outlets covered? _____

  - Were there any classrooms with more than 20% of walls covered with paper work? _____

- Dietary/Dining Area

  - Is there emergency lighting in dining room? _____

  - Are evacuation maps posted in dining room? _____

  - Are portable fire extinguishers available in dining room? _____

  - Do lighted egress signs identify each egress point? _____

  - Are extension cords being for a permanent power source?

  - Are the kitchen ranges, and hoods free from grease or dust build-up? _____

  - Is an automatic fire suppression system provided to protect the cooking surface? _____

  - Is automatic fire suppression system inspected and tagged bi-annually? _____

  - Is there at least one portable fire extinguisher with a 40B rating? _____

  - Is there a Type K fire extinguisher in the cooking area? _____

  - Has staff participated in fire safety training annually? _____

  - Are temperature charts for freezers, coolers, refrigerators, maintained (current) and located in the appropriate work area? ______

  - Is food covered and stored on shelves or pallets in freezers/coolers? _____

  - Are food and cleaning supplies stored separately? _____

  - Are storage materials stored less than 24 inches from the ceiling in non-sprinkled buildings and 18 inches in sprinkled buildings?_____

  - Is the Department of Health certificate current and displayed? _____

  - Are there any open blanks in the electrical panel? _____

- Gymnasium/Auditorium (Public Assembly Area)

  - Are at least two exits provided clearly marked by illuminated exit signs? _____

  - Do egress doors have functional panic hardware? _____

  - Are exits free of obstruction? _____

  - Is a fire extinguisher provided for each 3,000 square feet of floor space and placed in a position no farther than 75 feet from any area?_____

  - Are occupancy loads posted? _____

  - Does the area have emergency lighting? _____

  - Are there at least two portable fire extinguishers on the playing surface of the gym? _____

  - Is there a portable fire extinguisher in the stage area? _____

  - Are there open blanks in the stage area electrical panels? _____

  - If stage area has floor lights are they covered? _____

- Laboratories

  - Is there an eye wash station available? _____

  - Does laboratory have protective eyewear for each student? _____

  - Is there a portable fire extinguisher available? _____

  - Are there emergency utility cutoffs near the teaching station? _____

  - Does the laboratory have a functional vent-a-hood? _____

  - Are workstations kept in a safe condition? _____

  - Are there any unprotected electrical outlets on students work stations? _____

  - Does the school have a policy and procedure, which outlines the safe use of laboratory equipment and chemicals? _____

- Chemicals and Storage Area

- Is there a complete inventory of chemicals on hand? _____

- Are Material Safety Data Sheets (MSDS) available for each chemical? ___

- Are chemicals labeled and dated? ____

- Does the school have a central storage area for chemicals? _____

1. Is the storage area vented? _____

2. Are shelves in good condition? _____

3. Are hazardous chemicals (such as strong acids and bases) stored                 separately? _____

4. Is area secured? _____

- Shops/Vocational Areas

  - Are equipment/tools protected with covers/guards? _____

  - Does area provide protective eyewear for each student? _____

  - Are power tools and equipment secured properly (drill press, air compressors, etc.)?_____

  - Are aisles/storage bins kept neatly and uncluttered? _____

  - Do lighted egress signs identify each egress point? _____

  - Are extension cords being used for a permanent power source? _____

  - Are there open blanks in the electrical panels? _____

  - Are there any unprotected electrical outlets? _____

- Mechanical/Electrical/Custodial/Storage Areas

  - Is storage orderly and appropriate? _____

  - Are storage materials stored less than 24 inches from the ceiling in non-sprinkled buildings and 18 inches in sprinkled buildings?_____

  - Is storage separated from heaters and heat-producing devices? _____

  - Is there ventilation in the storage area? _____

  - Are flammable liquids stored properly? _____

  - Is lawn equipment and gasoline stored properly? _____

  - Are custodial/storage areas kept locked? _____

- Restrooms

  - Do water closets, urinals, lavatories operate properly? _____

  - Do the facilities accommodate handicap individuals? _____

  - Are partitions in good working order? _____

  - Does the area have proper ventilation? _____

  - Is there evidence that area has been serviced on a routine basis? _____

- Facility Wide

  - Is the school protected by an automated fire alarm system?_____ (If so it must function)

  - Did the school have an automated sprinkler system? _____

  - Are gas/LP fired heaters/boilers properly vented to the outside? _____

  - Have pressure vessels (hot water heaters, boilers, air compressors) above 200,000 BTU been inspected and tagged with current license? _____

- Asbestos Management

  - Does the school have an Asbestos Management Plan on file? _____

  - Has the school complied with the AHERA three-year re-inspection? _____

  - Has the school sent parents and employee notification on an annual basis? _____

  - Have 6-month inspections been performed? _____

- Lighting

  - Is interior lighting adequate in all areas? _____

  - Are interior lights working and in good repair? _____

  - Are covers provided for all lights? _____

- Stairs

  - Do stairs have handrails? _____

  - Are stairs a minimum of six feet wide and leading to major exits on the ground floor? _____

  - Are stair treads in good condition? _____

  - Is there a plan for handicapped egress from second floor? _____

  - Do stairwells have emergency lighting? _____

- Heating/AC/Ventilation

  - Is there evidence that system has been serviced on a routine basis? _____

- Electrical System

  - Are electrical panels secured (blank spacers missing)? _____

  - Are electrical panels labeled properly? _____

- Ingress/Egress Doors

  - Do egress doors have functional panic hardware? _____

  - Do all egress doors open outward? _____

  - Are any egress doors chained and/or padlocked? _____

  - Are exits completely unobstructed? ____